
DEPARTMENT OF
ELECTRICAL AND ELECTRONICS ENGINEERING

BE8255 –BASIC ELECTRICAL, ELECTRONICS AND MEASUREMENT ENGINEERING
Regulation – 2017
Academic Year 2019-2020
	UNIT I  -  ELECTRICAL CIRCUITS ANALYSIS

	Ohms Law, Kirchhoff’s Law-Instantaneous power- series and parallel circuit analysis with resistive,  capacitive  and  inductive  network  -  nodal  analysis,  mesh  analysis-  network theorems – Thevenin’s theorem, Norton theorem, maximum power transfer theorem and superposition theorem, three phase supply-Instantaneous, Reactive and apparent power-star delta conversion.

	Q.No
	PART – A 

	1.
	Define Ohm’s Law

	2.
	List and define Kirchhoff’s Laws for electric circuits.

	3.
	An 1Φ 50 Hz ac supply system has the RMS values of 100V, 10 A. Examine the instantaneous value of voltage and current.

	4.
	Distinguish between series and parallel circuit

	5.
	Select the value of R1 and R2 when they are parallel with the  following conditions. The current in R1 is twice the current flowing through R2 and the equivalent resistance of the parallel combination is 10/3Ω.

	6.
	Two  inductances  L1=3mH  and  L2=6mH  are  connected  in parallel. Analyse and infer Leq

	7.
	Compose the equivalent resistance for the following combination of resistor and source current


	8.
	Generalize the expressions for mesh current equations in matrix form


[image: image2.png]


[image: image3.png]



	9.
	Differentiate active and reactive power in electrical circuits

	10.
	Explain  how  voltage  source  with  a  source  resistance  can  be converted into an equivalent current source

	11.
	Given that the resistors Ra, Rb and Rc are connected electrically in star. Formulate the equations for resistors in equivalent delta

	12.
	Three resistors Rab, Rbc and Rca are connected in delta. Re-write the expression for resistors in equivalent star

	13.
	How  will  you  express  the  Norton’s  equivalent  circuit  from Thevenin’s equivalent circuit?

	14.
	State Superposition theorem

	15.
	Describe the theorem used in converting an electrical circuit into one equivalent resistance in series with voltage source

	16.
	Identify the theorem used in converting an electrical circuit into one equivalent resistance in parallel with current source

	17.
	State Maximum power transfer theorem

	18.
	Using superposition theorem, calculate current in the circuit.

	19.
	Discuss some applications of maximum power transfer theorem

	20.
	Point out the limitations of superposition theorem?

	
	PART - B

	1.
	Interpret the current delivered by the source shown in the circuit below. (13 marks)


[image: image4.png]


[image: image5.png]


[image: image6.png]



	2.
	For the network shown below, label the current ratio (I1/I3) by applying mesh analysis. (13 marks)

	3.
	Tabulate a) the equivalent resistances across the terminals of the supply,  b)  total  current  supplied  by  the  source  and  c)  power delivered to 16 ohm resistor in the circuit shown in figure. (13 marks)

	4.
	Analyze the mesh currents I1  and I2  for the given circuit shown below. (13 marks)


[image: image7.png]


[image: image8.png]


[image: image9.png]


[image: image10.png]ﬂil
L 5
N
g 7
N v




	5.
	Use Nodal Voltage method and estimate the power dissipated in the  10 Ω resistance on the circuit shown in the fig (13 marks)

	6.
	Using  star-delta  transformation,  in  the  following  wheat  stone bridge circuit of figure. Calculate i) the equivalent resistance between P&Q ii) the total current (iii) the current through the 18Ω resistor. (13 marks)

	7.
	Calculate loop currents by mesh analysis (13 marks)

	8.
	Deduce the expressions for star connected arms in terms of delta connected  arms  and  delta  connected  arms  in  terms  of  star connected arms(13 marks)

	9.
	Give Thevenin’s equivalent across the terminals AB for the circuit shown in figure below. (13 marks)


[image: image11.png]


[image: image12.png]k[
0 ja5n 5.0
T

50 L0
to.n




[image: image13.png]an
V-

2040

s

30.0v|



[image: image14.png]3 4 5 Mo

50 (0w




	10.
	Analyze the given circuit and obtain Norton’s equivalent circuit . (6 marks)

	11.
	(i) Derive and list the expressions for resistors in series and parallel ( 6 marks)
(ii) Quote the Kirchhoff’s current law and prove it by using the definition of current 
( 7 marks)

	12.
	Determine the Thevenin’s equivalent for the figure and develop the Norton’s equivalent from the same. (13 marks)

	13.
	Using superposition theorem, Identify the current through (2+j3) ohm impedance branch of the circuit shown. (13 marks)

	14.
	Examine and identify the maximum power delivered to the load in the circuit. (13 marks)


[image: image15.png]


[image: image16.png]100V

50

100

02 R




[image: image17.png]3Q

10Q

5Q

1Q

10V



[image: image18.png]100 2 0%V 100 £ 90°V





	PART – C

	1.
	Simplify the circuit and point out the current flowing through the 10Ω resistor, for the circuit diagram shown in figure (15 marks)

	2.
	Simplify and point out the current I in the network, Using the principle of super position theorem. (15 marks)

	3.
	i. Examine and identify the current in the 5Ω resistor in the network given in figure (8 marks)
[image: image1.png]50V




ii. Find out the current in each branch of the circuit shown in figure (7 marks)

	4.
	i  Examine  the  value  of  RL  so  that  maximum  power  is delivered to the load resistance shown in figure.  (8 marks )


[image: image19.png]



	
	ii.Give the current through the 2Ω resistor in the circuit shown in figure using superposition theorem. ( 7 marks)
BTL 4

Analyze


	UNIT 2 ELECTRICAL MACHINES

	DC and AC ROTATING MACHINES: Types, Construction, principle, Emf and torque equation, application Speed Control- Basics of Stepper Motor – Brushless DC motors- Transformers-Introduction- types and construction, working principle of Ideal transformer- Emf equation- All day efficiency calculation.

	PART A

	1
	Define Electrical Machine and classify them?

	2
	Briefly discuss about working principle of DC Generator

	3
	What are the major parts of a DC generator?

	4
	What is a commutator?

	5
	Compare lap and wave windings.

	6
	Define back emf.

	7
	Mention the speed control methods of DC shunt motors?

	8
	What is meant by synchronous speed?

	9
	Explain in brief about rotating magnetic field?

	10
	Define slip and rotor frequency

	11
	State double field revolving field theory.

	12
	Define stepper motor.

	13
	List the merits and demerits of stepper motor

	14
	Give the basic principle of BLDC motor

	15
	Comparison of Brushed DC motors and BLDC.

	16
	Define transformer.

	17
	Give the basic constructional parts of a transformer

	18
	Enumerate the voltage transformation ratio.


	19
	What are the properties of ideal transformer?

	20
	Define all day efficiency of a transformer

	PART B

	1
	Explain with the help of a sketch, the constructional features of a dc machine and briefly describe the functions of armature core, commutator and brushes. (13)

	2
	(i)  Briefly  explain  about  the  principle  of  operation  of  DC generator.(6)

(ii) Arrive at an Emf equation of DC generator. (7)

	3
	A six-pole, lap-connected generator is driven at 600rpm. It has 100 slots with 24 conductors per slot. What is the magnitude of the generated emf? If the number of conductors per slot is changed to 20.At what speed should the generator be run for the same voltage to be generated? The flux per pole is 0.02Wb.(13)

	4
	(i) Explain the principle of operation of DC motor.(7)

(ii) Derive an expression for the torque developed by a dc motor. (6 )

	5
	Discuss the various methods of speed control of DC motors. (13)

	6
	A 300V, four-pole dc motor draws a current of 50A when supplying a   certain   load.   The   armature   is   wave-wound   and   has   600 conductors. If the flux per pole is 40mwb and the armature resistance. (13)

	7
	Explain with sketches the constructional features of a synchronous machine. (13)

	8
	Explain the Principle of operation of a three phase induction motor and distinguish between slip and rotor frequency. (13)

	9
	Derive an expression for the torque developed by a three-phase induction motor. (13)

	10
	Explain  the  principle  of  operation  of  stepper  motors  with  their merits and demerits. (13)

	11
	Write detailed note on how rotation occurs in a BLDC motor and mention a few of its applications. (13)

	12
	State the various parts of a transformer and their function. (13)


	13
	(i)Explain the working principle of a single phase transformer(7)

(ii)Define  all-day  efficiency  of  a  transformer  and  explain  its significance.(6)

	14
	Arrive at an expression for emf equation of the transformer and discuss about transformation ratio. (13)

	PART C

	1
	Classify generators according to their connections and draw the equivalent circuit for each category.(15)

	2
	A four-pole, wave connected shunt generator has 900 conductors.  If the flux per pole is 0.03wb and the speed of the generator is 700rpm, what is the magnitude of the armature voltage? If the armature current is 40A, determine (a) the terminal voltage, (b) the field current, and (c) the load supplied. The armature and field resistances are 0.25Ω and 100Ω respectively. If the generator is now lap-wound, what is the flux per pole required to supply the same load? (15)

	3
	(i)Describe with a help of connection diagram, the operation of a

split-phase induction motor.(7)
(ii)Draw the connection diagram of shaded-pole induction motor and explain. (8)

	4
	Enumerate the assumptions made in an ideal transformer. Starting  with an ideal transformer on no-load, explain its working under load condition. (15)


	UNIT 3 UTILIZATION OF ELECTRICAL POWER

	Renewable energy sources-wind and solar panels. Illumination by lamps- Sodium Vapour, Mercury vapour, Fluorescent tube. Domestic refrigerator and air conditioner-Electric circuit, construction  and  working  principle.  Batteries-NiCd, Pb  Acid  and  Li  ion–Charge  and Discharge Characteristics. Protection-need for earthing,  fuses  and  circuit  breakers. Energy Tariff calculation for domestic loads.

	PART A

	2
	Explain the working of fluorescent tube.

	3
	Explain the function of starter?

	4
	Explain the function of choke?

	5
	Write short notes on mercury vapour lamp.

	6
	What is the purpose of domestic refrigerator.

	7
	Point out the requirements of domestic refrigerator.

	8
	State the function of battery?

	9
	Draw the discharge characteristics of NiCd battery.

	10
	List out the advantages and disadvantages of lead acid battery?

	11
	Show the chemical reaction takes place in the NiCd battery?

	12
	State the application of Li ion battery.

	13
	Show the need for protective schemes in power system?

	14
	State the main objective of air conditioning.

	15
	Define the function of circuit breaker and its types?

	16
	Explain the function of fuse?Name the types of fuses?

	17
	Classify the different types of earthing.

	18
	What is the necessity for earthing and mention its types?

	19
	Explain pipe earthing?

	20
	Define tariff?

	PART B

	1
	Write a short note on electricity generation using renewable energy

source solar(13)

	2
	Write a short note on electricity generation using renewable energy

source wind. (13)

	3
	Draw a schematic diagram of a mercury vapour lamp and explain its working. What is the role of capacitor? (13)

	4
	Draw and explain the working of sodium vapour lamp(13)

	5
	Draw a schematic diagram of a fluorescent tube and discuss the role of (a) choke (b) tubelight (c) starter  (13)

	6
	Draw the electric circuit of a domestic refrigerator and explain the role of each components and its working. (13)

	7
	Draw  the  electric  circuit  of  a  air  conditioning  and  explain  its working. (13)

	8
	Describe the construction and working of a lead acid battery. (13)

	9
	Describe the construction and working of a Li ion battery. (13)

	10
	Describe the construction and working of a lead acid battery. (13)

	11
	Describe the construction and working of a NiCd battery. (13)

	12
	Write a short notes on the characteristics of NiCd and Li ion battery. (13)

	13
	Write a detailed note on electricity tariffs for domestic consumers.

	14
	(i)Summarize the importance of protective schemes employed in power system.(6)

(ii)Show the essential quantities of protection.(7)

	PART C

	1
	Draw a single line diagram of an ac power system and clearly show the various sub systems and the range of voltages at which they operate.(15)

	2
	Enumerate  the  different  types  of  renewable  energy  source  of generating electrical power and explain its working operation. (15)

	3
	Categorize the different types of batteries and distinguish between various types of storage batteries. (15)

	4
	Show with the help of labeled diagrams the essential features of (i) pipe (8) and (ii) plate earthing. (7)


	UNIT 4 ELECTRONIC CIRCUITS

	PN Junction-VI Characteristics of Diode, zener diode, Transistors configurations - amplifiers. Op  amps-  Amplifiers,  oscillator,rectifiers,  differentiator,  integrator,  ADC,  DAC.  Multi vibrator using 555 Timer IC . Voltage regulator IC using LM 723, LM 317.

	PART A

	1
	Define Semiconductor

	2
	Illustrate by dynamic resistance of diode?

	3
	Describe the types of biasing a PN junction?

	4
	Define Knee voltage of a Diode

	5
	Explain forward bias and reverse bias in a PN junction?

	6
	Distinguish Zener diode? Draw its V-I Characteristics.

	7
	Differentiate  between  Zener  Breakdown  and  Avalanche breakdown

	8
	When does a transistor act as a switch?

	9
	Show What is biasing?


	10
	Classify the different configurations of transistor?

	11
	compose the advantages of Push pull amplifier

	12
	Explain the operation of oscillator.

	13
	Define Rectifiers. List the types of Rectifiers.

	14
	Define differentiator.

	15
	Define integrator.

	16
	Define ADC and its types

	17
	Define DAC and its types

	18
	Classify the different types of Multivibrator?

	19
	Draw the pin diagram of LM 723 and explain its operation.

	20
	Draw the pin diagram of LM 317 and explain its operation.

	PART B

	1
	With a neat diagram explain the working of a PN junction diode in forward bias and reverse bias and show the effect of temperature on its V-I characteristics.
(13)

	2
	i)
Why the Zener diode is called as regulator.
(6)

ii)  Explain V-I characteristics of Zener diode and Compare Zener Diode with ordinary diode.   

                                                                                                                                                  (7)

	3
	Discuss  the  switching  characteristics  of  a  transistor  with  neat sketch.
(13)

	4
	Describe   the   static   input   and   output   characteristics   of   CB configuration of a transistor with neat circuit diagram.
(13)

	5
	Compose  the  expression  for  current  gain,  input  impedance  and voltage gain of a CE Transistor Amplifier.
(13)

	6
	Discuss the most commonly used transistor configuration? Why? And Explain the configuration?
(13)

	7
	i)  Illustrate the types of differential amplifiers.
(7)

ii) Illustrate power amplifier? Explain their types?
(6)

	8
	Discuss   the   different   oscillator   circuit   to   produce   sustained oscillations?
(13)

	9
	Draw the circuit diagram and explain the working of full wave bridge rectifier and derive the expression for average output current and rectification efficiency.
(13)


	10
	Describe ADC and its Types in Detail.
(13)

	11
	Describe DAC and its Types in Detail.
(13)

	12
	Illustrate in detail about different types of Multivibrator using 555 timers.
(13)

	13
	Briefly Explain the Voltage regulator using LM 723.
(13)

	14
	Briefly Explain the Voltage regulator using LM 317.
(13)

	PART C

	1
	Explain  the  hall  wave  and  full  wave  rectifiers  with  relevant diagram.
(15)

	2
	Illustrate the requirements for producing sustained oscillations in feedback circuits? Discuss any two audio frequency oscillators.(15)

	3
	Compose the delta sigma modulation? Explain the A/D conversion using Delta modulator.
                                                                                                                                       (15)

	4
	Explain the operation of switching regulators. Give its advantages.   (15)


	UNIT 5 ELECTRICAL MEASUREMENT

	Characteristic of measurement-errors in measurement, torque in indicating instruments- moving   coil   and   moving   iron   meters,   Energy   meter   and   watt   meter.   Transducers- classification-thermo electric, RTD, Strain gauge, LVDT, LDR and piezoelectric. Oscilloscope- CRO.

	PART A

	1
	Define storage oscilloscope?  Mention the different  types of storage oscilloscope.

	2
	Demonstrate the block diagram of digital storage CRO.

	3
	Define gross and random errors.

	4
	Illustrate the difference between accuracy and precision.

	5
	Describe the measuring lag and fidelity of dynamic characteristics of instrument.

	6
	The true value of a voltage is 100V. The values indicated by a measuring instrument are 104, 103,105,103 and 105V. Calculate the accuracy and precision of the measurement.

	7
	Define dynamic characteristics of an instrument.

	8
	Define the static characteristics of an instrument.

	9
	How are the absolute and relative errors expressed mathematically?

	10
	Compare moving coil with moving iron instruments.

	11
	Define  limiting  error.  Derive  the  expression  for  relative limiting error.

	12
	Why the ordinary wattmeters are not suitable for low power factor circuits?

	13
	Define primary transducer?

	14
	Quote the principle of operation of optical transducer?

	15
	Compare sensor and transducer.

	16
	Describe inverse transducers with example

	17
	Estimate  the  output  expected  out  of  an  LVDT  provided  with unidirectional excitation, while measuring a displacement of 3cm?

	18
	Describe strain gauge? List its types.

	19
	Explain in brief about gauge factor? Give its expression.

	20
	Quote piezoelectric effect?

	PART B

	1
	Enlist and discuss the various types of error in measurement? (13)

	2
	(i)Classify different types of measuring instruments.(6)

(ii)Discuss the important features of measuring instruments?(7)

	3
	Describe briefly the working of moving coil permanent magnet instrument with a neat diagram. (13)

	4
	Describe briefly the working of moving iron instrument with a neat diagram. (13)

	5
	Describe   briefly   the   working   of   moving   coil   Dynamometer instrument with a neat diagram. (13)

	6
	Explain in detail the different types of instruments used for measurement of power? (13)

	7
	Explain  in  detail  the  different  types  of  instruments  used  for measurement of electrical energy? (13)

	8
	With the neat block diagram explain the working and operation principle of CRO? (13)

	9
	(i)What   is   a   sensor?Distinguish  between   active   and   passive sensor?(6)

(ii)Based on output, how are sensors categorized? Compare the different types of sensors.(7)

	10
	(i)Detail out the various properties of a good transducers.(6)

(ii)Draw the block diagram of a basic measuring system. Discuss the role of each component.(7)

	11
	Categorize the different types of resistance transducers. With the neat diagram explain the working of resistance thermometer (RTD) (13)

	12
	Explain with the neat diagram the working principle and operation of different types of strain guage. (13)

	13
	(i)Explain the principle of working of a variable inductor transducer .Describe the operation of an LVDT with the help of a diagram.(8)

(ii)Enumerate the advantages and disadvantages of an LVDT.(5)

	14
	(i) How do piezoelectric transducers work? State their advantages and  disadvantages.  Enumerate  the  application  of  piezoelectric tranducers.(8)

(ii)Explain with the help of a sketch the working of a photoelectric transducer.(5)

	PART C

	1
	Enlist and discuss the various types of errors in measurement(15)

	2
	Derive the expressions for deflection and controlling torques for (i) attraction and (ii) Repulsion types of MI instruments. (15)

	3
	Enumerate the various types of transducer categories based on the functions   they   perform.   Distinguish   clearly,   with   examples, between active  and passive devices.(15)

	4
	(i)Draw the block diagram of a basic measuring system. Discuss the role of each component(8) (ii)Enumerate in detail about the LDR(7)





�








�








�








�








�








�








�








�








�








�








�








�








�








�








�








�








�








�








�












[image: image20.png]20



